## Slide 1
BEAM SPLITTER 2
DETECTOR 1
STATIC
MIRROR
GREEN LASER / LED WITH FILTER
DETECTOR 2
MOVING
MIRROR
MICROMETER
LIMIT SWITCH
MICRO-CONTROLLER
GAIN ADJUSTMENT
← TO LINUX
TO MAINS →
← TO MAINS
BEAM SPLITTER 1
x
x + p/2
SPLIT BEAM
Task 4 - 9
Green Laser / LED with Filter
OPTIONAL: DETECTOR 2

## Slide 2
BEAM SPLITTER 2
DETECTOR 1
STATIC
MIRROR
MERCURY LAMP
DETECTOR 2
MOVING
MIRROR
MICROMETER
LIMIT SWITCH
MICRO-CONTROLLER
GAIN ADJUSTMENT
← TO LINUX
TO MAINS →
← TO MAINS
BEAM SPLITTER 1
x
x + p/2
SPLIT BEAM
Task 10 - 12
Mercury Lamp

## Slide 3
BEAM SPLITTER 2
DETECTOR 1
STATIC
MIRROR
DETECTOR 2
MOVING
MIRROR
MICROMETER
LIMIT SWITCH
MICRO-CONTROLLER
GAIN ADJUSTMENT
← TO LINUX
TO MAINS →
← TO MAINS
BEAM SPLITTER 1
x
x + p/2
SPLIT BEAM
Task 13
Red He-Ne Laser
MERCURY LAMP
BEAM SPLITTER 3
RED HELIUM - NEON LASER
I
O